## Slide 1
Bienvenue au
GROUPE MEDIA CONTACT

## Slide 2: Introduction
How to Use This Plan
In the event of a disaster which interferes with GMC’s ability to conduct business from one of its offices, this plan is to be used by the responsible individuals to coordinate
the business recovery of their respective areas and/or departments. The plan is designed to contain, or provide reference to, all of the information that might be needed
at the time of a business recovery.
This plan is not intended to cover the operations of GMC’s separately structured Emergency Response Team.
Index of Acronyms:
EOC: Emergency Operations Center
EMT: Emergency Management Team
ERT: Emergency Response Team
BCP: Business Continuity Plan
IT : Information Technology
Introduction, contains general statements about the organization of the plan. It also establishes responsibilities for the testing (exercising), training, and
maintenance activities that are necessary to guarantee the ongoing viability of the plan.
Business Continuity Strategy, describes the strategy that the IT Operations Department will control/implement to maintain business continuity in the event
of a facility disruption. These decisions determine the content of the action plans, and if they change at any time, the plans should be changed accordingly.
Recovery Teams, lists the Recovery Team functions, those individuals who are assigned specific responsibilities, and procedures on how each of the team
members is to be notified.
Team Procedures, determines what activities and tasks are to be taken, in what order, and by whom in order to affect the recovery.
Incidents Type, Risks and Mitigating factors, contains all of the other information needed to carry out the plan. Other sections refer the reader to one or more
Appendices/tables to locate the information needed to carry out the Team Procedures steps.

## Slide 3: Objectives
The objective of the Business Continuity Plan is to coordinate recovery of critical business functions in managing and supporting the business recovery in the event of a facilities (office building) disruption, or disaster. This can include short or long-term disasters or other disruptions, such as fires, floods, earthquakes, explosions, terrorism, tornadoes, extended power interruptions, technical failures, hazardous chemical spills, and other natural or man-made disasters.
A disaster is defined as any event that renders a business facility inoperable or unusable so that it interferes with the organization’s ability to deliver essential business services.
The priorities in a disaster situation are to:
Ensure the safety of employees and visitors in the office buildings.
Mitigate threats or limit the damage that threats can cause.
Have advanced preparations to ensure that critical business functions can continue.
Have documented plans and procedures to ensure the quick, effective execution of recovery strategies for critical business functions.
The IT Operation’s Business Continuity Plan includes procedures for all phases of recovery as defined in the Business Continuity Strategy and Incident Type and Risks section of this document.

## Slide 4: Scope
The Business Continuity Plan is limited in scope to recovery and business continuance from a serious disruption in activities due to non-availability of GMC’s facilities.
The Business Continuity Plan includes procedures for all phases of recovery as defined in the Business Continuity Strategy of this document.
This plan is separate from GMC’s Disaster Recovery Plan, which focuses on the recovery of technology facilities and platforms, such as critical applications, databases, servers or other required technology infrastructure. Unless otherwise modified, this plan does not address temporary interruptions of duration less than the time frames determined to be critical to business operations.
The scope of this plan is focused on localized disasters such as fires, floods, and other localized natural or man-made disasters.
This plan is also intended to cover major regional or national disasters such as regional earthquakes, war, or nuclear holocaust. However, it can provide some guidance in the event of such a large-scale disaster.
Assumptions
The viability of this Business Continuity Plan is based on the following assumptions:
That a viable and tested IT Disaster Recovery Plan exists and will be put into operation to restore data center service at a backup site within 5 hours to seven days.
That the Organization’s facilities management department has identified available space for relocation of departments which can be occupied and used normally within two to five days of a facilities emergency.
That this plan has been properly maintained and updated as required.
That each department has their own Business Continuity Plan.
The functions and roles referenced in this plan do not have to previously exist within an organization; they can be assigned to one or more individuals as new responsibilities or delegated to an external third party if funding for such services can be arranged and allocated.

## Slide 5: Roles and Responsibilities
Business Strategy Department | Facility Management | Business Continuity Coordinator
Periodically reviewing the adequacy and appropriateness of its Business Continuity strategy. Assessing the impact on the GMC’s Business Continuity Plan of additions or changes to existing business functions, Call Centre, IT, procedures, equipment, and facilities requirements. Keeping recovery team personnel assignments current, considering promotions, transfers, and terminations. Communicating all plan changes to the Business Continuity Coordinator so that the organization’s IT master Disaster Recovery Plan can be updated. | Maintaining and/or monitoring offsite office space sufficient for critical Call Centre functions and to meet the facility recovery time frames. Communicating changes in the “Organization IT Disaster Recovery Plan” plan that would affect groups/departments to those groups/departments in a timely manner so they can make any necessary changes in their plan. Communicating all plan changes to the Business Continuity Coordinator so that the master plan can be updated. | Keeping the organization’s IT Recovery Plan updated with changes made to IT Operations plans. Coordinating changes among plans and communicating to IT management when other changes require them to update their plans.
Plan Testing Procedures and Responsibilities | Plan Training Procedures and Responsibilities | Plan Distribution List BCP
IT Management team is responsible for ensuring the workability of their Business Continuity Plan. This should be periodically verified by active or passive testing. | HR management is responsible for ensuring that the personnel who would carry out the Business Continuity Plan are sufficiently aware of the plan’s details. This may be accomplished in a number of ways including practice exercises, participation in tests, and awareness programs conducted by the Business Continuity Coordinator. | Refer to the table below
Plan ID | Location | Responsible Person
Benin-P100 | Ivory Coast | Leandre
Ivory Coast-P101 | Cameroon | Contact person in Ivory Coast
Cameroon-P102 | Ivory Coast | Contact person in Cameroon

## Slide 6: Scope
Primary Location | Alternate Business Site
Benin | Ivory Coast
Ivory Coast | Cameroon
Cameroon | Ivory Coast
Congo Brazzaville | Benin
Guinea Bissau | Benin
Guinea Conakry | Benin
Business Function Recovery Priorities
The strategy is to recover critical BPO business functions at the alternate site location. This can be possible if an offsite strategy has been put into effect by
Disaster Recovery/IT Teams to provide the recovery service. Information Systems will recover IT functions based on the critical departmental business
functions and defined strategies.
Business Functions by Location are listed in the next slide (Recovery Priorities for Critical Business Functions). “Time Critical Business Functions,” i.e., those of which are
of the most critical for immediate recovery at the secondary location are listed on the slide 9 (Critical Software Resources):
Relocation Strategy and Alternate Business Site
In the event of a disaster or disruption to the office facilities, the strategy is to recover operations by relocating to an alternate business site. The short-term strategies
(for disruptions lasting two weeks or less), which have been selected, include.
For all locations, if a long-term disruption occurs (i.e. major building destruction, etc.); the above strategies will be used in the short-term (less than two weeks).
The long-term strategies will be to acquire/lease and equip new office space in another building in the same metropolitan area.

## Slide 7: Recovery Priorities for Critical Business Functions
Department | Priorities (Impact) | Maximum Allowable Downtime | Maximum Allowable Downtime |  |  | 
 | P1:Crit, P2:High,P3:Med, P4:Low | 0-24 hours | 1-2 Days | 3-5 days | 1-2 weeks | > 2 weeks
Contracts | P3 |  |  |  |  | X
IT Operations | P1 | X |  |  |  | 
HR | P1 | x |  |  |  | 
BPO(Customer Service Agents) | P2 |  | x |  |  | 
ISD (developpement Team) | P1 | x |  |  |  | 
Operations | P1 | x |  |  |  | 
Logistics | P3 |  |  | x |  | 
CF (Accounting and Finance) | P2 |  | x |  |  | 
Training | P3 |  |  | x |  | 
Quality | P2 |  | x |  |  | 
Programmes | P2 |  | x |  |  | 

## Slide 8: Critical Software Resources
IT Operations
Software Application | Publisher or Vendor | Platform | Recovery Criticality
HERMES (CRM) | VOCALCOM | MICROSOFT | 
Microsoft server (AD, DNS, DHCP) | MICROSOFT | MICROSOFT | 
SQL server | MICROSOFT | MICROSOFT | 
ZABBIX | ZABBIX | GNU/LINUX (DEBIAN) | 
LIBRE NMS | LIBRE NMS | GNU/LINUX (DEBIAN) | 
IPBX AUTOCOM | DIGIUM / MARK SPENCER | GNU/ LINUX (DEBIAN) | 
EXCHANGE | OVH | OVH CLOUD | 

## Slide 9: Severity Impact Assessments
 |  | Severity of Impact |  |  |  |  | 
 |  | Least ------> |  | to ------> |  | Greatest | Comments
 | Impact Area | 1 | 2 | 3 | 4 | 5 | 
1 | Cash Flow Interruption |  |  |  |  |  | 
2 | Inoperative Billing Systems |  |  |  |  |  | 
3 | Inoperative Financial Controls |  |  |  |  |  | 
4 | Loss of Customers |  |  |  |  |  | 
5 | Financial Reporting (Banks, IRS, etc.) |  |  |  |  |  | 
6 | Increases in Liability |  |  |  |  |  | 
7 | Loss of Public Image |  |  |  |  |  | 
8 | Regulatory Violations |  |  |  |  |  | 
9 | Contractual Violations |  |  |  |  |  | 
10 | Vendor Liabilities & Relations |  |  |  |  |  | 
11 | Customer Liability & Relations |  |  |  |  |  | 
12 | Effect on Employee Morale |  |  |  |  |  | 
13 | Staff Resignations |  |  |  |  |  | 

## Slide 10: Recovery Task List
Task No. | Task Description | Estimated Time | Actual Time | Assigned To | Assigned Time | Completed Time | Comments
10 | Disaster Occurrence |  |  |  |  |  | 
20 | Receive Communication on Emergency Situation |  |  |  |  |  | 
30 | Identify recovery site |  |  |  |  |  | 
40 | Retrieve Business Continuity Plans |  |  |  |  |  | 
50 | Notification of Management |  |  |  |  |  | 
60 | Preliminary Damage Assessment |  |  |  |  |  | 
70 | Declaration of a Disaster |  |  |  |  |  | 
80 | Plan Activation |  |  |  |  |  | 
90 | Relocation to Alternate Site |  |  |  |  |  | 
100 | Implementation of Interim Procedures |  |  |  |  |  | 
110 | Restoring Data Processing and Data Communications with Primary or Secondary |  |  |  |  |  | 

## Slide 11
Tool-related incidents
1
n° | RISK MAPPING | TYPES OF INCIDENTS | DESCRIPTION OF THE RISK | IMPACT | SERVICES RESPONSIBLE FOR THE INCIDENT | TECHNICAL LEADER Contact | ACTIONS TO BE CARRIED OUT AT THE LEVEL OF THE TECHNICAL AREA | TIME TO RESOLVE THE INCIDENT | OPERATIONAL APPROACH (PRODUCTION ACTION) | Level of tool depreciation | THREATS | ACTIONS TO BE TAKEN TO ADDRESS THE THREATS | FREQUENCY OF INCIDENTS OVER 12 MONTHS (July 2021 - July 2022)
1 | TECHNICAL AND LOGISTICAL | Equipment failure | 1-Inverter off after power failure and absence of relay, 2-Inverter faulty, 3 Circuit breaker faulty | 1- Front and back office production stoppage - service unavailability 2-Customer advisors disconnected at Hermes | LOGISTICS | Just GANKPA | Intervention of a service provider specialising in the installation and supply of electrical energy for troubleshooting and to ensure that the inverter takes over automatically. | Resolution time between 1h and 6h | After 10 minutes of service interruption, activate the teams for teleworking, taking into account the dimensioning. | Major risk: The inverter model (EATON DX model) is obsolete and it is therefore difficult to find spare parts for the equipment. | Insufficient maintenance frequency/poor power quality/low level of inverter autonomy | Contractualise a partnership for the regular maintenance and supply of electrical energy generating equipment (inverters and generators); Set up a policy for the systematic supply of diesel for the generator with the determination of a risk level for fuel oil/ Launch the order of new inverters to replace those already in use/ Deployment of work equipment to employees selected for teleworking | Period of recorded incidents (February 2022 to July 2022 1 -5 times per quarter)
2 |  | Loss of link E1/Link instability | Malfunction of any of the customer's equipment MTN | Decreased flow and/or disconnection of some or all incoming calls | ISD | Léandre AGUIAH | Escalate the ticket to the MTN after verification and confirmation of the fault | Between 30 minutes and 1 hour to identify faults |  | MTN | MTN | MTN | MTN
3 |  |  | Malfunction of one of the internal equipments (Malfunction of a telecom equipment e.g. mediagetway/PABX) |  |  |  | Fix the problem or, failing that, request a replacement or repair of the defective part from logistics | Between 72H and 96H for any replacement of defective equipment (MEDIAGETWAY/PABX) |  | Minor risk to date, availability of back-up equipment to take over in case of malfunction | Instability/poor quality of power; dilapidated MEDIAGETWAY; poor configuration | Put in place a regulator and an inverter and ensure their regular maintenance; Put in place a policy for the disposal of the equipment; Put in place a security policy; Have the required preconditions with the partner for a good configuration | 1 time during the year
4 |  | Hermes | Stopping services (CTI proxy, Slave) Stopping services (Reporting and supervision service bug) | Failure of customer advisors to receive calls _ inability of supervisor to follow up on his shift |  |  | Manual restart of the service | Between 5min and 15min |  | Minor risk, manual restart is between 5 and 15min at most | Server overload due to increased flow; | Resize the server (track the call history over a period of time in order to anticipate appropriate scaling); Monitor the server (to see the load of everything that passes through the server) | CTI: 0 times a year SLAVE: 2 times a month 4 times per trimester 6 times per semester 10 times a year Reporting service bug 2 times per three months - 3 times per six months
5 |  |  | Hermes database bug ( Database corrupted ) | Unavailability of information at reporting level_ inability to log in for an agent who was not logged in before the incident |  |  | Manual restart of the SQL service; Execution of the maintenance script | 30 minutes |  | Major risk, inaccessible database due to the fact that no production data can be recorded. | Power outage or not; no back up to take over | Install a regulator and an inverter and ensure their regular maintenance; set up alerts to be informed in time; set up back-up systems to ensure the relay; | 0 times during the semester is during the year

## Slide 12
Tool-related incidents
2
n° | RISK MAPPING | TYPES OF INCIDENTS | DESCRIPTION OF THE RISK | IMPACT | SERVICES RESPONSIBLE FOR THE INCIDENT | TECHNICAL LEADER Contact | ACTIONS TO BE CARRIED OUT AT THE LEVEL OF THE TECHNICAL AREA | TIME TO RESOLVE THE INCIDENT | OPERATIONAL APPROACH (PRODUCTION ACTION) | Level of tool depreciation | THREATS | ACTIONS TO BE TAKEN TO ADDRESS THE THREATS | FREQUENCY OF INCIDENTS OVER 12 MONTHS (July 2021 - July 2022)
6 | TECHNICAL AND LOGISTICAL | Hermes | Hermes database bug (SQL service stop) | supervisors no longer have access to the reporting interface; impossible to log in for an agent who was not logged in before the incident | ISD | Léandre AGUIAH | manual restart of the service | 30 minutes | After 10 minutes of service interruption, activate the teams for teleworking, taking into account the dimensioning. | Major risk, Impossible to connect to Hermes even if calls arrive on the platform | Existence of unknown factors leading to service interruptions | Tracking the history of incidents in order to know the reasons behind these malfunctions | 0 times during the year
7 |  |  | Insufficient hardware resources (Processor Full) | the server crashes and some actions become impossible |  |  | restarting the server and increasing resources | 20min |  | Major risk with a strong impact on the unavailability of the service provided to end customers | Server component obsolescence/failure; computer attack | Implement a policy for the disposal of equipment; Implement a policy for the security of the computer network (according to the international standard) | 0 times during the year
8 |  | Malfunctioning of MTN equipment (Yellow chat, ECW, MRI, CLM,...) | External MTN (inaccessibility of business applications) | the business applications do not work, they are inaccessible |  |  | check the connection and escalate to the customer | Resolution time depends on the severity of the failure |  | MTN | MTN | MTN | MTN
 |  | Poor audio quality | Link instability and transmission equipment (MTN) bugs | Poor quality of hearingDeterioration in quality of service |  |  | check the connection and escalate to the customer |  |  | MTN | MTN | MTN | MTN
9 |  | Poor audio quality | Instability of the link and bug in the transmission equipment (internal) | Poor audio quality degradation of quality of service |  |  | Checking our equipment internally and resolving the ticket, in case of an external problem, escalate to the customer | 1H |  | Major risk, unavailability or malfunction of voice quality during call reception or transmission | Instability of the local area network (LAN) | Do network monitoring (check the functionality of the network and ensure that the network is not congested); ensure that there is no malfunction on a switch; ensure that the agent's workstation is communicating with the DCO; ensure that the agent's headset is in good condition; | 2 times a month 4 times per three months 6 times during the semester 6 times a year
10 |  | Server crash (server failure) | Server inaccessible | Stopping the services linked to this server (production stop, lack of data storage etc.) | ISD/LOGISTICS | 1-Léandre AGUIAH 2-Juste GANKPA | Troubleshooting or replacement of defective hardware; Commissioning of the back up server | Resolution time depends on the severity and availability of the defective part (2H) |  | Major risk linked to a total production shutdown | poor power quality or old equipment; computer attacks | Put in place a regulator and an inverter and ensure their regular maintenance; Put in place an equipment disposal policy; Put in place a safety policy | 1 time per year

## Slide 13
Infrastructure-related incidents and natural disasters
3
TECHNICAL LEADER Contact | ACTIONS TO BE CARRIED OUT AT THE LEVEL OF THE TECHNICAL AREA | TIME TO RESOLVE THE INCIDENT | OPERATIONAL APPROACH (PRODUCTION ACTION) | LEVEL OF DAMPING | THREATS | ACTIONS TO BE TAKEN TO ADDRESS THE THREATS | FREQUENCY OF INCIDENTS OVER 12 MONTHS (July 2021 - July 2022)
Just GANKPA | 1-Configuration is made for an automatic relay of the generator. 2-In case of failure of the generator, the service provider in charge of the repair and maintenance of the generator is called in. | The resolution time depends on the severity of the failure | After 10 minutes of service interruption, activate the teams for teleworking, taking into account the dimensioning. | Major risk: The inverter model (EATON DX model) is obsolete and it is therefore difficult to find spare parts for the equipment; the batteries of the various inverters in use are at the end of their life. | General stop of production Stopping production on a work floor Risk of fire | Contractualise a partnership for the regular maintenance and supply of electrical energy generating equipment (inverters and generators); Set up a policy for the systematic supply of diesel for the generator with the determination of a risk level for fuel oil/ Launch the order of new inverters to replace those already in use/ Deployment of work equipment to employees selected for teleworking | Period of recorded incidents( February 2022 to July 2022 1 -5 times per quarter
 | 1-Checking the source of the power failure. 2-Detecting the fault and looking for an in-house solution. 3-Call a supplier or service provider if a serious malfunction is detected in the equipment that can supply electrical energy | 60 minutes |  | Major risk: Lack of maintenance of electrical boxes and installations | *Risk of repeated malfunctions *Serious damage to computer equipment | Contractualise a partnership for the regular maintenance and supply of electrical energy generating equipment (inverters and generators); Set up a policy for the systematic supply of diesel for the generator with the determination of a risk level for fuel oil/ Launch the order of new inverters to replace those already in use/ Deployment of work equipment to employees selected for teleworking | Period of recorded incidents (February 2022 to July 2022) 1-5 times per quarter
Just GANKPA | 1-Investigation of the fault in the technical room in conjunction with the IT department. 2- Diagnosis and search for a solution | * Within 60 minutes |  | Minor risk: malfunction of circuit breakers or sockets. Quick troubleshooting possible | Serious damage to computer equipment used for receiving and transmitting calls on production sites | Contractualise a partnership for the regular maintenance and supply of electrical energy generating equipment (inverters and generators); Set up a policy for the systematic supply of diesel for the generator with the determination of a risk level for fuel oil/ Launch the order of new inverters to replace those already in use/ Deployment of work equipment to employees selected for teleworking | Period of recorded incidents ( February 2022 to July 2022 ) 1 -5 times per semester
Leandre AGUIAH | ensure that the concern is really from the MTN and alert by phone and email | 1h |  | MTN | MTN | MTN | MTN
Leandre AGUIAH | Check the cause of the incident and resolve the problem/ find a relay in case of equipment crash | 1h |  | Super high risk, end of life equipment | Risk of interruption at any time; | Anticipate the replacement of the core switch before the end of the equipment's life; Have a back up | 1 time per year
 | Replacement or repair of equipment | 1h |  | Major risk, several switches at end of life | Risk of computer attack; Poor quality of electrical power; Poor temperature adjustment; Failure to replace equipment at the end of its life | Ensure continuity of equipment settings to prevent unauthorised access; Ensure that the regulator and inverter are maintained and serviced; Ensure that the technical room is well ventilated / Set up an alarm system to warn of any change in the ambient temperature of the data centre; Monitor the level of depreciation of all data centre equipment in order to anticipate their replacement before their end of life | 1 time per year
 | Reconfiguration of the equipment | 1h |  | Major risk, several switches at end of life | Electricity instability Computer attack Improper handling of any or all of the equipment | Ensure continuity of equipment settings to prevent unauthorised access Ensuring the maintenance of the regulator and inverter and maintaining them; | 0 times during the year

## Slide 14
Infrastructure-related incidents and natural disasters
4
TECHNICAL LEADER Contact | ACTIONS TO BE CARRIED OUT AT THE LEVEL OF THE TECHNICAL AREA | TIME TO RESOLVE THE INCIDENT | OPERATIONAL APPROACH (PRODUCTION ACTION) | LEVEL OF DAMPING | THREATS | ACTIONS TO BE TAKEN TO ADDRESS THE THREATS | FREQUENCY OF INCIDENTS OVER 12 MONTHS (July 2021 - July 2022)
Managers of business and support departments (ISD, logistics, programmes, operations, HR, CF, training and quality) | Migrate agents to a pre-installed cloud mirror server - Provide agents with kits that allow them to work off-site | Without delay if the prerequisites are installed, flooding and flooding with no access to the centre: 2 hours to launch the WFH | After 10 minutes of service interruption, activate the teams for teleworking, taking into account the dimensioning. | Major risk, if no cloud server and no possibility to launch a WFH | Lack of a cloud server to back up data; Lack of hardware to systematically run the WFH | Implement a policy of deploying mirror servers on the cloud; Equip the centre with equipment that can be used to launch the WFH in the event of incidents | 0 times during the year
 | Convene a crisis meeting to discuss and understand the strike motion - enter into negotiations - settle definitively | 2h |  | Major risk, total shutdown of production | Failure to handle calls, full waiting line, dissatisfaction with end customers and MTN, breach of contract if not resolved | To be at the side of HR in identifying their daily expectations; Electing staff representatives in order to exchange daily with HR to anticipate their possible strike reactions Upstream, recruit customer advisors who speak at least one local language, train the cc's on OPS and set up the management of calls outside the country. | 0 times during the year
 | Migrate agents to a previously installed cloud server - Equip agents with kits that allow them to work off-site - Launch the WFH | 2h |  | Major risk, in case of absence or insufficiency of equipment allowing WFH | Lack of hardware to systematically launch the WFH; Lack of a mirror server; | Implement a policy of deploying mirror servers on the cloud; Equip the centre with equipment that can be used to launch the WFH in the event of incidents; Upstream, recruit customer advisors who speak at least one local language, train the cc's on OPS and set up out-of-country call handling. | 0 times during the year
 | Make back-ups responsible for monitoring shifts-convene a crisis meeting to discuss and understand the strike motion-enter into negotiations-finally resolve the problem | 2h |  | Major risk, in case of no back up and inconclusive negotiation | Non-control of KPI's leading to non-achievement of contractual targets | To be at the side of the managers by identifying their daily expectations; Electing staff representatives in order to exchange daily with HR to anticipate their possible reactions to strikes | 0 times during the year

## Slide 15
The 6 major risks linked to tools
 | Points of attention | Impact | Actions to be taken to address the threats | Deadline
1 | Faulty UPS and/or circuit breaker (server room): The UPS model (EATON DX model) is obsolete and it is therefore difficult to find spare parts for the equipment. | 1-Front and back office downtime - service unavailability 2-Disconnection | Contractualise a partnership for the regular maintenance and supply of electrical energy generating equipment (inverters and generators); Set up a policy for the systematic supply of diesel for the generator with the determination of a level of risk for the fuel oil/ Launch the order of new inverters to replace the existing ones | 
2 | Hermes Database bug (Database corrupted). | Supervisors no longer have access to the reporting interface; an agent who was not logged in before the incident cannot log in. | Put in a regulator and an inverter while ensuring their regular maintenance; Set up alerts to be informed in time; Set up back up to ensure the relay | 
3 | Hermes : Hermes database bug (SQL service stop) | The server crashes and some actions become impossible | Tracking the history of incidents in order to know the reasons behind these malfunctions | 
4 | Hermes: Insufficient hardware resources (Processor Full) | Server component obsolescence/failure; computer attack | Implement a policy for the disposal of equipment; Implement a policy for the security of the computer network (according to the international standard) | 
5 | Poor audio quality: unavailability or malfunctioning of voice quality when receiving or making calls | Poor audio quality, degradation of quality of service | Do network monitoring (check the functionality of the network and make sure that the network is not congested); make sure that there is no malfunction on a switch; make sure that the agent's workstation is communicating with the ACD; make sure that the agent's headset is in good condition; | 
6 | Server crash (server failure): total production shutdown | Server downtime (production shutdown, no data storage etc.) | Put in place a regulator and an inverter and ensure their regular maintenance; Put in place a policy for the disposal of equipment; Put in place a safety policy | 

## Slide 16
The 10 major infrastructure risks
 | Points of attention | Impact | Actions to be taken to address the threats | Deadline
1 | Failure to receive a call due to an incident on Media Contact's core network equipment | Production stoppage | Anticipate the replacement of core network equipment before the end of the equipment's life; Have a back up | 
2 | Unavailability of power in the server room | Stopping production | Contract a partnership with a service provider specialising in the installation and supply of electrical equipment and in building electricity maintenance | 
3 | Crash of a data centre equipment (Rooter/Surver/Switch/Media Gateway/Firewall...) | Stopping production | Set up the equipment properly to prevent unauthorised access; Set up and maintain a regulator and an inverter; Ventilate the technical room well/Install an alarm system that can warn of changes in the ambient temperature of the data centre; Monitor the level of depreciation of all data centre equipment in order to anticipate their replacement before their end of life | 
4 | Loss of configuration (Rooter/Surver/Switch/Media Gateway/Firewall...) | Stopping production | Set up and maintain a regulator and an inverter; Monitor the level of depreciation of all data centre equipment in order to anticipate their replacement before their end of life | 
5 | Upgrade work or any other work that may result in system unavailability | Stopping production | Have up-to-date and tested redundant equipment; Inform the operational team on the execution of the operation | 
6 | Unavailability of power at a site (in server rooms and call centres) | Switching off the machines | Develop a preventive maintenance plan | 
7 | Flooding preventing HR from coming to the centre on their shift / Fire in the production centre | Total or partial stoppage of production | Implement a policy for deploying a mirror server in the cloud; Equip the centre with equipment that can be used to launch the WFH in the event of incidents | 
8 | Staff strikes (Customer advisor) | Total or partial stoppage of production | To be at the side of HR by identifying their daily expectations; Electing staff representatives to exchange daily with HR to anticipate their possible strike reactions | 
9 | Natural disaster (war, earthquake, viral epidemic,...) | Total or partial stoppage of production | Implement a policy for deploying a mirror server in the cloud; Equip the centre with equipment that can be used to launch the WFH in the event of incidents; | 
10 | Staff strikes (supervisors and activity managers) | Production monitoring not effective - Contractual target not met | To be at the side of managers by identifying their daily expectations; Electing staff representatives in order to exchange daily with HR to anticipate their possible strike reactions | 

## Slide 17
This scenario describes the continuity plan we propose to put in place.
The main production platform is hosted on a secure cloud.
1- the MTN subscriber dials the callcenter number, the call arrives on the MTN's SIP platform
2- MTN routes the call to the cloud via a sip link set up between MTN Benin and our cloud.
3- Our agents connected to the cloud can then handle the calls of the subscribers.
4- Call centre agents access business applications via a data link established between Media Contact Benin and MTN Benin
The link established between MTN Benin and Media Contact Benin will also serve as a backup for the voice link in case of cloud inaccessibility. The agents will then process the flow normally
In case of unavailability of the Media contact Benin website, two options are proposed:
teleworking, our nomadic agents then take over to ensure continuity of service.
Management of out-of-country calls; trained and sized agents at the Cote d'Ivoire site according to the urgency can also reinforce the workforce by handling calls from the impacted programme(s) to absorb the flow until the incident is resolved.
Case 2: Inaccessibility of the Media contact site
Case 1: Inaccessibility of the Cloud

## Slide 18
Notes of the Benin Network Design
  Benin
  The Call Centre Agent will use the current third-party link to connect to MTN Services e,g SIP
  Failover of the third-party link fail they will use IPSec tunnel(VPN)to access MTN Services
  There are also 2 internet links from two different ISP
  They will be two dual IPSec(VPN) tunnel to the GMC services that are hosted in the cloud.
  Also dual IPSec(VPN) for site failover to the other MTN OPCOS, in this case Ivory Coast

## Slide 19
. Notes of the Ivory Coast Network Design
  Cote d’Ivoire
  The will be 2 dual IPSec(VPN) to Benin Head Office to consume the services during the transition, SIP will use dedicated IPSEC and in the event of failure the secondary IPSec link will be used
  Also dual IPSec(VPN) for site failover to the other MTN OPCOS, in this case Cameroon
  They will be two dual IPSec(VPN) tunnel to the services that are hosted in the cloud for Primary and Secondary

## Slide 20
. Notes on Cameroon Network Design
  Cameroon
  The will be 2 dual IPSec(VPN) to Benin Head Office to consume the services during the transition, SIP will use dedicated IPSEC and in the event of failure the secondary IPSec link will be used
  Also dual IPSec(VPN) for site failover to the other MTN OPCOS, in this case Cote d’Ivoire
  They will be two dual IPSec(VPN) tunnel to the services that are hosted in the cloud for Primary and Secondary

## Slide 22
Customer service business continuity plan in less than 6 hours (real time management)
Findings
To do
Responsible for
Actors
Telephone
Mail
Calls cannot be received on one or more programmes
Unable to receive calls on the interactive voice server (IVS) one or more programmes
Switching off posts in a programme or all programmes
Inform the steering committee, the ISD and the programmes, the MTN client (the MTN client must inform the internal/digital communication)
Send text messages to customers to direct them to social networking channels
Put message on IVR at program entry or call centre entry
Assigning alternative channel or other programme codes to customer advisers
Inform the steering committee, the ISD and the programmes, the MTN client (the MTN client must inform the internal/digital communication)
Inform marketing to send messages to relevant customers
Passing the message on to the relevant customers
Informing customers of the availability of other channels on social networks
Inform the steering committee, the ISD and the programmes, the MTN client (the MTN client must inform the internal/digital communication)
Record the message to be put at the entrance of the impacted programme or call centre. Send the message to the IT team
Put message on IVR at program entry or call centre entry
Operations Department
Operations
Communication
ISD
Operations Department
Operations Department
Innocent d'ALMEIDA
Innocent d'ALMEIDA
Marius OGOUDEDJI
Léandre AGUIAH
+229 66 51 50 86
+229 66 51 50 86
+229 66 26 00 10
+229 97 76 88 53
idalmeida@groupmediacontact.com
idalmeida@groupmediacontact.com
mogoudedji@groupmediacontact.com
laguiah@groupmediacontact.com
Informing customers of the availability of other channels on social networks
Transferring calls to a programme at another site
MTN
ISD
-
Léandre AGUIAH
-
+229 97 76 88 53
laguiah@groupmediacontact.com
Assigning alternative channel or other programme codes to customer advisers
Transferring calls to a programme at another site
MTN
ISD
Assigning alternative channel or other programme codes to customer advisers
Informing customers of the availability of other channels on social networks
Transferring calls to a programme at another site
MTN
ISD
Call centre incident
Innocent d'ALMEIDA
+229 66 51 50 86
idalmeida@groupmediacontact.com
-
Léandre AGUIAH
-
+229 97 76 88 53
laguiah@groupmediacontact.com
Innocent d'ALMEIDA
+229 66 51 50 86
idalmeida@groupmediacontact.com
Operations
Communication
ISD
Innocent d'ALMEIDA
Marius OGOUDEDJI
Léandre AGUIAH
+229 66 51 50 86
+229 66 26 00 10
+229 97 76 88 53
idalmeida@groupmediacontact.com
mogoudedji@groupmediacontact.com
laguiah@groupmediacontact.com
-
Léandre AGUIAH
-
+229 97 76 88 53
laguiah@groupmediacontact.com

## Slide 23
Business continuity plan
Less than 6 hours
Unavailability of telecom networks
Unavailability of the MCB website
Natural disaster
Staff strike
Malfunction
IF
More than 6 hours
Informing the steering committee, the ISD and the MTN programmes
Informing management, ISD and programmes
Identify impacted programmes and inform MTN
Allocate resources from another subsidiary to the affected programmes
Informing OD and planning
Invite CCs to carry out manual registration
Monitors the recovery of the IS
Identify one or more CCs to deport customer data into the IS
Inform customers by SMS and invite them on other available channels. Continuously inform MCB on the progress of the resolution of the incident (Estimate the resolution time)
End
End
Telework
Mail
Mail
Mail
Tel
Monitor site availability
Inform inbound actors and reassign teams to originating sites
End
Mail
Mail
Excel file
End
Supervisor – Flow Planner
MTN Action
Tray / Interaction to be created
Actions to be carried out by MCB
Actions to be carried out by the MTN
Hermes
MTN actions (informing internal/digital communication)
Confirm resolution of the problem to MCB teams + send text messages to customers to resolve the incident
Allocate resources from another subsidiary to the affected programmes
Informing cc's to connect
Informing branch managers
Telework
/ out-of-country management
Mail
Mail
Inform the OD and branch managers
Mail
Cloud is down
Informing ISD and programmes
Mail
Informing management, ISD and programmes
Mail
Identify impacted programmes and inform MTN
Mail
Switching the flow to the premise servers
Monitor the availability of impacted services in the cloud and report the incident
Problem solving and team reallocation
Informs inbound actors and reassigns teams
Mail
End
Mail

## Slide 24
FIN DU DOCUMENT